## 10Nov2020_B13_RAE_Pre
============================================================
20/11/10 08:58
************************************************************
Summary
------------------------------------------------------------
Unit Name | MultiRAE Lite(PGM-6208)
Unit SN | M01CA15613
Unit Firmware Ver | V1.52
------------------------------------------------------------
Running Mode | Hygiene Mode
Datalog Mode | Auto
Diagnostic Mode | No
Stop Reason | Pause in Communication Mode
------------------------------------------------------------
Site ID | SITE0000
User ID | USER0000
------------------------------------------------------------
Begin | 2020-11-10 08:59
End | 2020-11-10 09:01
Sample Period(s) | 1
Number of Records | 125
------------------------------------------------------------
Sensor | HCN(ppm) | H2S(ppm) | CO(ppm)
Sensor SN | SCA3490070A4 | SCA3130132A4 | SC0313xxxxN1
Measure Type | Min; Avg; Max; Real | Min; Avg; Max; Real | Min; Avg; Max; Real
Span | 5 | 5 | 20
Span 2 | N/A | N/A | N/A
Low Alarm | 4.7 | 10 | 35
High Alarm | 25 | 20 | 200
Over Alarm | 50 | 200 | 500
STEL Alarm | 4.7 | 15 | 100
TWA Alarm | 4.7 | 10 | 35
Measurement Gas(CF) | N/A | N/A | N/A
Calibration Time | 2020-10-09 18:27 | 2020-10-09 18:15 | 2020-10-09 18:18
Peak | 0 | 0 | 0
Min | 0 | 0 | 0
Average | 0 | 0 | 0
************************************************************
Datalog
|  | HCN(ppm) | HCN(ppm) | HCN(ppm) | HCN(ppm) | H2S(ppm) | H2S(ppm) | H2S(ppm) | H2S(ppm) | CO(ppm) | CO(ppm) | CO(ppm) | CO(ppm)
Index | Date/Time | (Min) | (Avg) | (Max) | (Real) | (Min) | (Avg) | (Max) | (Real) | (Min) | (Avg) | (Max) | (Real)
1 | 2020-11-10 08:59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 2020-11-10 08:59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 2020-11-10 08:59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 2020-11-10 08:59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 2020-11-10 08:59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 2020-11-10 08:59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 2020-11-10 08:59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | 2020-11-10 08:59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | 2020-11-10 08:59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | 2020-11-10 08:59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | 2020-11-10 08:59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | 2020-11-10 08:59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | 2020-11-10 08:59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | 2020-11-10 08:59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | 2020-11-10 08:59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | 2020-11-10 08:59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | 2020-11-10 08:59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | 2020-11-10 08:59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | 2020-11-10 08:59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | 2020-11-10 08:59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | 2020-11-10 08:59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | 2020-11-10 08:59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | 2020-11-10 08:59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | 2020-11-10 08:59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | 2020-11-10 08:59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | 2020-11-10 08:59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | 2020-11-10 08:59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | 2020-11-10 08:59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | 2020-11-10 08:59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 | 2020-11-10 08:59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
31 | 2020-11-10 08:59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
32 | 2020-11-10 08:59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
33 | 2020-11-10 08:59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
34 | 2020-11-10 08:59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
35 | 2020-11-10 08:59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
36 | 2020-11-10 08:59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
37 | 2020-11-10 08:59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
38 | 2020-11-10 08:59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
39 | 2020-11-10 08:59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
40 | 2020-11-10 08:59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
41 | 2020-11-10 08:59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
42 | 2020-11-10 08:59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
43 | 2020-11-10 08:59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
44 | 2020-11-10 08:59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
45 | 2020-11-10 08:59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
46 | 2020-11-10 08:59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
47 | 2020-11-10 08:59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
48 | 2020-11-10 08:59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
49 | 2020-11-10 09:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
50 | 2020-11-10 09:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
51 | 2020-11-10 09:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
52 | 2020-11-10 09:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
53 | 2020-11-10 09:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
54 | 2020-11-10 09:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
55 | 2020-11-10 09:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
56 | 2020-11-10 09:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
57 | 2020-11-10 09:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
58 | 2020-11-10 09:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
59 | 2020-11-10 09:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
60 | 2020-11-10 09:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
61 | 2020-11-10 09:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
62 | 2020-11-10 09:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
63 | 2020-11-10 09:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
64 | 2020-11-10 09:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
65 | 2020-11-10 09:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
66 | 2020-11-10 09:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
67 | 2020-11-10 09:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
68 | 2020-11-10 09:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
69 | 2020-11-10 09:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
70 | 2020-11-10 09:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
71 | 2020-11-10 09:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
72 | 2020-11-10 09:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
73 | 2020-11-10 09:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
74 | 2020-11-10 09:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
75 | 2020-11-10 09:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
76 | 2020-11-10 09:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
77 | 2020-11-10 09:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
78 | 2020-11-10 09:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
79 | 2020-11-10 09:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
80 | 2020-11-10 09:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
81 | 2020-11-10 09:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
82 | 2020-11-10 09:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
83 | 2020-11-10 09:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
84 | 2020-11-10 09:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
85 | 2020-11-10 09:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
86 | 2020-11-10 09:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
87 | 2020-11-10 09:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
88 | 2020-11-10 09:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
89 | 2020-11-10 09:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
90 | 2020-11-10 09:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
91 | 2020-11-10 09:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
92 | 2020-11-10 09:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
93 | 2020-11-10 09:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
94 | 2020-11-10 09:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
95 | 2020-11-10 09:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
96 | 2020-11-10 09:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
97 | 2020-11-10 09:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
98 | 2020-11-10 09:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
99 | 2020-11-10 09:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
100 | 2020-11-10 09:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
101 | 2020-11-10 09:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
102 | 2020-11-10 09:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
103 | 2020-11-10 09:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
104 | 2020-11-10 09:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
105 | 2020-11-10 09:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
106 | 2020-11-10 09:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
107 | 2020-11-10 09:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
108 | 2020-11-10 09:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
109 | 2020-11-10 09:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
110 | 2020-11-10 09:01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
111 | 2020-11-10 09:01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
112 | 2020-11-10 09:01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
113 | 2020-11-10 09:01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
114 | 2020-11-10 09:01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
115 | 2020-11-10 09:01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
116 | 2020-11-10 09:01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
117 | 2020-11-10 09:01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
118 | 2020-11-10 09:01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
119 | 2020-11-10 09:01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
120 | 2020-11-10 09:01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
121 | 2020-11-10 09:01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
122 | 2020-11-10 09:01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
123 | 2020-11-10 09:01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
124 | 2020-11-10 09:01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
125 | 2020-11-10 09:01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Peak |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Min |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Average |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
************************************************************
TWA/STEL
|  | HCN(ppm) | HCN(ppm) | H2S(ppm) | H2S(ppm) | CO(ppm) | CO(ppm)
Index | Date/Time | (TWA) | (STEL) | (TWA) | (STEL) | (TWA) | (STEL)
1 | 2020-11-10 08:59 | 0 | --- | 0 | --- | 0 | ---
2 | 2020-11-10 08:59 | 0 | --- | 0 | --- | 0 | ---
3 | 2020-11-10 08:59 | 0 | --- | 0 | --- | 0 | ---
4 | 2020-11-10 08:59 | 0 | --- | 0 | --- | 0 | ---
5 | 2020-11-10 08:59 | 0 | --- | 0 | --- | 0 | ---
6 | 2020-11-10 08:59 | 0 | --- | 0 | --- | 0 | ---
7 | 2020-11-10 08:59 | 0 | --- | 0 | --- | 0 | ---
8 | 2020-11-10 08:59 | 0 | --- | 0 | --- | 0 | ---
9 | 2020-11-10 08:59 | 0 | --- | 0 | --- | 0 | ---
10 | 2020-11-10 08:59 | 0 | --- | 0 | --- | 0 | ---
11 | 2020-11-10 08:59 | 0 | --- | 0 | --- | 0 | ---
12 | 2020-11-10 08:59 | 0 | --- | 0 | --- | 0 | ---
13 | 2020-11-10 08:59 | 0 | --- | 0 | --- | 0 | ---
14 | 2020-11-10 08:59 | 0 | --- | 0 | --- | 0 | ---
15 | 2020-11-10 08:59 | 0 | --- | 0 | --- | 0 | ---
16 | 2020-11-10 08:59 | 0 | --- | 0 | --- | 0 | ---
17 | 2020-11-10 08:59 | 0 | --- | 0 | --- | 0 | ---
18 | 2020-11-10 08:59 | 0 | --- | 0 | --- | 0 | ---
19 | 2020-11-10 08:59 | 0 | --- | 0 | --- | 0 | ---
20 | 2020-11-10 08:59 | 0 | --- | 0 | --- | 0 | ---
21 | 2020-11-10 08:59 | 0 | --- | 0 | --- | 0 | ---
22 | 2020-11-10 08:59 | 0 | --- | 0 | --- | 0 | ---
23 | 2020-11-10 08:59 | 0 | --- | 0 | --- | 0 | ---
24 | 2020-11-10 08:59 | 0 | --- | 0 | --- | 0 | ---
25 | 2020-11-10 08:59 | 0 | --- | 0 | --- | 0 | ---
26 | 2020-11-10 08:59 | 0 | --- | 0 | --- | 0 | ---
27 | 2020-11-10 08:59 | 0 | --- | 0 | --- | 0 | ---
28 | 2020-11-10 08:59 | 0 | --- | 0 | --- | 0 | ---
29 | 2020-11-10 08:59 | 0 | --- | 0 | --- | 0 | ---
30 | 2020-11-10 08:59 | 0 | --- | 0 | --- | 0 | ---
31 | 2020-11-10 08:59 | 0 | --- | 0 | --- | 0 | ---
32 | 2020-11-10 08:59 | 0 | --- | 0 | --- | 0 | ---
33 | 2020-11-10 08:59 | 0 | --- | 0 | --- | 0 | ---
34 | 2020-11-10 08:59 | 0 | --- | 0 | --- | 0 | ---
35 | 2020-11-10 08:59 | 0 | --- | 0 | --- | 0 | ---
36 | 2020-11-10 08:59 | 0 | --- | 0 | --- | 0 | ---
37 | 2020-11-10 08:59 | 0 | --- | 0 | --- | 0 | ---
38 | 2020-11-10 08:59 | 0 | --- | 0 | --- | 0 | ---
39 | 2020-11-10 08:59 | 0 | --- | 0 | --- | 0 | ---
40 | 2020-11-10 08:59 | 0 | --- | 0 | --- | 0 | ---
41 | 2020-11-10 08:59 | 0 | --- | 0 | --- | 0 | ---
42 | 2020-11-10 08:59 | 0 | --- | 0 | --- | 0 | ---
43 | 2020-11-10 08:59 | 0 | --- | 0 | --- | 0 | ---
44 | 2020-11-10 08:59 | 0 | --- | 0 | --- | 0 | ---
45 | 2020-11-10 08:59 | 0 | --- | 0 | --- | 0 | ---
46 | 2020-11-10 08:59 | 0 | --- | 0 | --- | 0 | ---
47 | 2020-11-10 08:59 | 0 | --- | 0 | --- | 0 | ---
48 | 2020-11-10 08:59 | 0 | --- | 0 | --- | 0 | ---
49 | 2020-11-10 09:00 | 0 | --- | 0 | --- | 0 | ---
50 | 2020-11-10 09:00 | 0 | --- | 0 | --- | 0 | ---
51 | 2020-11-10 09:00 | 0 | --- | 0 | --- | 0 | ---
52 | 2020-11-10 09:00 | 0 | --- | 0 | --- | 0 | ---
53 | 2020-11-10 09:00 | 0 | --- | 0 | --- | 0 | ---
54 | 2020-11-10 09:00 | 0 | --- | 0 | --- | 0 | ---
55 | 2020-11-10 09:00 | 0 | --- | 0 | --- | 0 | ---
56 | 2020-11-10 09:00 | 0 | --- | 0 | --- | 0 | ---
57 | 2020-11-10 09:00 | 0 | --- | 0 | --- | 0 | ---
58 | 2020-11-10 09:00 | 0 | --- | 0 | --- | 0 | ---
59 | 2020-11-10 09:00 | 0 | --- | 0 | --- | 0 | ---
60 | 2020-11-10 09:00 | 0 | --- | 0 | --- | 0 | ---
61 | 2020-11-10 09:00 | 0 | --- | 0 | --- | 0 | ---
62 | 2020-11-10 09:00 | 0 | --- | 0 | --- | 0 | ---
63 | 2020-11-10 09:00 | 0 | --- | 0 | --- | 0 | ---
64 | 2020-11-10 09:00 | 0 | --- | 0 | --- | 0 | ---
65 | 2020-11-10 09:00 | 0 | --- | 0 | --- | 0 | ---
66 | 2020-11-10 09:00 | 0 | --- | 0 | --- | 0 | ---
67 | 2020-11-10 09:00 | 0 | --- | 0 | --- | 0 | ---
68 | 2020-11-10 09:00 | 0 | --- | 0 | --- | 0 | ---
69 | 2020-11-10 09:00 | 0 | --- | 0 | --- | 0 | ---
70 | 2020-11-10 09:00 | 0 | --- | 0 | --- | 0 | ---
71 | 2020-11-10 09:00 | 0 | --- | 0 | --- | 0 | ---
72 | 2020-11-10 09:00 | 0 | --- | 0 | --- | 0 | ---
73 | 2020-11-10 09:00 | 0 | --- | 0 | --- | 0 | ---
74 | 2020-11-10 09:00 | 0 | --- | 0 | --- | 0 | ---
75 | 2020-11-10 09:00 | 0 | --- | 0 | --- | 0 | ---
76 | 2020-11-10 09:00 | 0 | --- | 0 | --- | 0 | ---
77 | 2020-11-10 09:00 | 0 | --- | 0 | --- | 0 | ---
78 | 2020-11-10 09:00 | 0 | --- | 0 | --- | 0 | ---
79 | 2020-11-10 09:00 | 0 | --- | 0 | --- | 0 | ---
80 | 2020-11-10 09:00 | 0 | --- | 0 | --- | 0 | ---
81 | 2020-11-10 09:00 | 0 | --- | 0 | --- | 0 | ---
82 | 2020-11-10 09:00 | 0 | --- | 0 | --- | 0 | ---
83 | 2020-11-10 09:00 | 0 | --- | 0 | --- | 0 | ---
84 | 2020-11-10 09:00 | 0 | --- | 0 | --- | 0 | ---
85 | 2020-11-10 09:00 | 0 | --- | 0 | --- | 0 | ---
86 | 2020-11-10 09:00 | 0 | --- | 0 | --- | 0 | ---
87 | 2020-11-10 09:00 | 0 | --- | 0 | --- | 0 | ---
88 | 2020-11-10 09:00 | 0 | --- | 0 | --- | 0 | ---
89 | 2020-11-10 09:00 | 0 | --- | 0 | --- | 0 | ---
90 | 2020-11-10 09:00 | 0 | --- | 0 | --- | 0 | ---
91 | 2020-11-10 09:00 | 0 | --- | 0 | --- | 0 | ---
92 | 2020-11-10 09:00 | 0 | --- | 0 | --- | 0 | ---
93 | 2020-11-10 09:00 | 0 | --- | 0 | --- | 0 | ---
94 | 2020-11-10 09:00 | 0 | --- | 0 | --- | 0 | ---
95 | 2020-11-10 09:00 | 0 | --- | 0 | --- | 0 | ---
96 | 2020-11-10 09:00 | 0 | --- | 0 | --- | 0 | ---
97 | 2020-11-10 09:00 | 0 | --- | 0 | --- | 0 | ---
98 | 2020-11-10 09:00 | 0 | --- | 0 | --- | 0 | ---
99 | 2020-11-10 09:00 | 0 | --- | 0 | --- | 0 | ---
100 | 2020-11-10 09:00 | 0 | --- | 0 | --- | 0 | ---
101 | 2020-11-10 09:00 | 0 | --- | 0 | --- | 0 | ---
102 | 2020-11-10 09:00 | 0 | --- | 0 | --- | 0 | ---
103 | 2020-11-10 09:00 | 0 | --- | 0 | --- | 0 | ---
104 | 2020-11-10 09:00 | 0 | --- | 0 | --- | 0 | ---
105 | 2020-11-10 09:00 | 0 | --- | 0 | --- | 0 | ---
106 | 2020-11-10 09:00 | 0 | --- | 0 | --- | 0 | ---
107 | 2020-11-10 09:00 | 0 | --- | 0 | --- | 0 | ---
108 | 2020-11-10 09:00 | 0 | --- | 0 | --- | 0 | ---
109 | 2020-11-10 09:00 | 0 | --- | 0 | --- | 0 | ---
110 | 2020-11-10 09:01 | 0 | --- | 0 | --- | 0 | ---
111 | 2020-11-10 09:01 | 0 | --- | 0 | --- | 0 | ---
112 | 2020-11-10 09:01 | 0 | --- | 0 | --- | 0 | ---
113 | 2020-11-10 09:01 | 0 | --- | 0 | --- | 0 | ---
114 | 2020-11-10 09:01 | 0 | --- | 0 | --- | 0 | ---
115 | 2020-11-10 09:01 | 0 | --- | 0 | --- | 0 | ---
116 | 2020-11-10 09:01 | 0 | --- | 0 | --- | 0 | ---
117 | 2020-11-10 09:01 | 0 | --- | 0 | --- | 0 | ---
118 | 2020-11-10 09:01 | 0 | --- | 0 | --- | 0 | ---
119 | 2020-11-10 09:01 | 0 | --- | 0 | --- | 0 | ---
120 | 2020-11-10 09:01 | 0 | --- | 0 | --- | 0 | ---
121 | 2020-11-10 09:01 | 0 | --- | 0 | --- | 0 | ---
122 | 2020-11-10 09:01 | 0 | --- | 0 | --- | 0 | ---
123 | 2020-11-10 09:01 | 0 | --- | 0 | --- | 0 | ---
124 | 2020-11-10 09:01 | 0 | --- | 0 | --- | 0 | ---
125 | 2020-11-10 09:01 | 0 | --- | 0 | --- | 0 | ---